## Vertical Rev;A1
Status	Qty	Value	MFG	P/N	Device	Parts
digikey	11	39uF	Nippon Chemi	APXE160ARA390ME61G	CAP-POL--NIPPONCHEM_E61	C1, C2, C3, C4, C5, C10, C14, C15, C16, C107, C108
digikey	5	1nF	kemet	C0805C102J5GACTU	CAP-V-0805	C17, C18, C87, C88, C103
digikey	10	100pF	kemet	C0805C101J5GACTU	CAP-H-0805	C21, C22, C91, C92, C105, C23, C24, C93, C94, C109
digikey	5	27pF	kemet	C0805C270J5GACTU	CAP-H-0805	C25, C26, C95, C96, C111
digikey	11	10nF	kemet	C0805C103K5RACTU	CAP-H-0805	C27, C28, C43, C44, C61, C62, C79, C80, C97, C98, C112
digikey	61	0.1uF	kemet	C0805C104K5RACTU	CAP-H-0805	C6, C7, C8, C9, C11-13, C19, C20, C29, C31, C33, C34, C35, C36, C37, C38, C39, C40, C41, C45, C46, C47, C49, C50, C51, C52, C53, C54, C55, C56, C57, C58, C59, C63, C64, C65, C67, C68, C69, C70, C71, C72, C73, C74, C75, C76, C77, C81, C82, C83, C85, C86, C89, C90, C99, C101, C104, C106, C110, C113
n/a	11	???			CAP-H-0805	C30, C32, C42, C48, C60, C66, C78, C84, C100, C102, C114
digikey	13	BAS21	On Semi	BAS21LT1G	DIODE,GENERIC-SOT23	D1, D2, D8, D10, D11, D12, D17, D22, D27, D29, D31, D32, D33
digikey	3	MMBD1505	Mico Comm.	MMBD1505	DIODE:DUAL(COM-ANODE)-SOT23	D15, D16, D20
digikey	1	SML-LXL1209UPGC	Lumex	SML-LXL1209UPGC	LED-1209	D3
Stock	1	PLP2-500		PLP2-500	LIGHT PIPE	D3
digikey	3	MMBZ5237BW-7-F	Diodes Inc.	MMBZ5237BW-7-F	ZENER-SOT23	D4, D5, D6
digikey	7	BAV70	mico Comm.	BAV70	DIODE:DUAL(COM-CATHODE)-SOT23	D7, D9, D13, D14, D18, D19, D34
Stock	2	100056	Littlefuse	2 of 100056	FUSEHOLDER-5X20-4	F1
Stock	1	?A			FUSE, 5x20	F1
digikey	1	LT3080EST	Linear Tech	LT3080EST	REGULATOR:LT3080(3PIN,LDO,I-SET)-SOT223	IC1
Newark	6	ISO124U			ANALOG:ISOLATOR_ISO12X-SOIC28B	IC10, IC11, IC18, IC19, IC26, IC27
digikey	7	RM-1212S	Recom	RM-1212S	DC-DC:GENERIC-ISO-UNI-RECOM_RM-XXXXS	IC14, IC15, IC22, IC23, IC30, IC31, IC47
digikey	8	PS2501L-1	NEC	PS2501L-1	OPTOCOUPLER_TYPE1-NEC_PS2501L-1	IC16, IC17, IC24, IC25, IC32, IC33, IC43, IC44
digikey	5	AD823AR	Analog Dev.	AD823AR	OPAMP:AD8___(DUAL)-SOIC-8	IC2, IC3, IC34, IC35, IC42
digikey	10	HCNR201#500			OPTO:LINEAR-TYPE1AVAGO#300	IC4, IC5, IC6, IC7, IC36, IC37, IC38, IC39, IC45, IC46
digikey	11	LM7332MME	National Semi.	LM7332MME	OPAMP:AD8___(DUAL)-MSOP-8	IC8, IC9, IC12, IC13, IC20, IC21, IC28, IC29, IC40, IC41, IC48
digikey	5	5747150-8	Tyco	5747150-8	CONN-DB9-TYPE2-TYCO_5747XXX-X_FEMALE	J1, J10, J11, J25, J26
digikey	3	5747299-8	Tyco	5747299-8	CONN-DB15-TYPE2-AMP_5747299-7/8	J14, J17, J20
digikey	2	1-5747871-4	Tyco	1-5747871-4	CONN-DB9-TYPE2-TYCO_5747XXX-X_MALE	J2, 30
digikey	20	5227222-6	Tyco	5227222-6	CONN-BNC-TYPE1VERT	J3, J4, J5, J6, J7, J8, J9, J12, J13, J15, J16, J18, J19, J21, J22, J23, J24, J27, J28, J29 "Saturation"
digikey	2	CC1R5-1212DF-E	TDK/Lambda	CC1R5-1212DF-E	DC-DC:CCP-__-E(TDK1.5-25W)-CC1R5-R-E	PWR1, PWR4
digikey	1	CC1R5-1212SR-E	tdK/Lambda	CC1R5-1212SR-E	DC-DC:CCP-__-E(TDK1.5-25W)-CC1R5-R-E	PWR2
1	1	CC10-1212DR-E	TDK/Lambda	CC10-1212DR-E	DC-DC:CCP-__-E(TDK1.5-25W)-CC10-R-E	PWR3
digikey	2	MMBT5551	On Semi	MMBT5551	BJT-NPN-SOT23	Q1, Q2
n/a	11	???			R-H-0805	R29, R31, R47, R54, R71, R78, R99, R102, R135, R137, R164
digikey	21	100	Yageo	RC0805FR-07100RL	R-H-0805	R36, R37, R38, R39, R44, R63, R66, R67, R68, R87, R90, R91, R92, R111, R114, R115, R142, R143, R144, R145, R167
digikey	13	100K	Yageo	RC0805FR-07100KL	R-V-0805	R16, R17, R33, R35, R122, R123, R139, R141, R154, R166, R4, R96, R98
digikey	22	10K	Yageo	RC0805FR-0710KL	R-V-0805	R1, R14, R15, R45, R69, R93, R120, R121, R153, R10, R11, R46, R58, R70, R82, R94, R106, R116, R117, R150, R152, R159
digikey	11	10M	Yageo	RC0805FR-0710ML	R-H-0805	R48, R50, R72, R74, R95, R97, R162, R24, R26, R130, R132
digikey	31	1K	yageo	RC0805FR-071KL	R-H-0805	R5, R6, R12, R13, R22, R23, R59, R60, R62, R65, R83, R84, R86, R89, R107, R108, R110, R113, R118, R119, R128, R129, R151, R155, R160, R9, R18, R20, R124, R126, R157
digikey	8	200	Yageo	RC0805FR-07200RL	R-H-0805	R2, R40, R41, R61, R85, R109, R146, R147
digikey	17	200K	Rohm Semi.	MCR10EZPF2003	R-H-0805	R32, R34, R49, R51, R52, R56, R57, R73, R75, R76, R80, R81, R104, R105, R138, R140, R165
Stock	3	24.9K			R-H-0805	R55, R79, R103
Stock	5	249K			R-V-0805	R19, R21, R125, R127, R158
Stock	1	30.1K			R-V-0805	R3
digikey	9	4.99K	yageo	RC0805FR-074K99L	R-V-0805	R8, R42, R43, R64, R88, R112, R148, R149, R156
Stock	1	499K			R-V-0805	R7
digikey	14	80.6K	Yageo	RC0805FR-0780K6L	R-H-0805	R25, R27, R28, R30, R53, R77, R100, R101, R131, R133, R134, R136, R161, R163
digikey	1	G6SK-2F-DC12	Omron	G6SK-2F-DC12	RELAY:DPDT-LATCHING,DUALCOIL	RLY1
digikey	1	MPG106F	Tyco	MPG106F	SWITCH:SPDT-MG106RPC	SW1 "Coil Short Reset"
Stock	5	FET	Micro Semi	APT10M07JVFR		COILS 12A, 15, 15/16, 16, 15 SWITCH
Stock	3	FET H_BRIDGE	Micro Semi			COILS 12B, 13, 14
	8	CURRENT SENSOR	LEM	HAS-100-S		COILS 12A, 12B, 13, 14, 15, 15/16, 16, COIL SHORT SENSOR
digikey	8	CONNECTOR	Molex	21-01-1044		FOR CURRENT SENSORS
digikey	32	PINS, CONNECTOR	Molex	08-70-0057		FOR CURRENT SENSORS
Shop	1	COOLING PLATE	Machine shop	N/A	Custom design	N/A
Stock	1	FACEPLATE, 19” 3U	Hammond	PBPA19005CG2
digikey	20	TRIMPOTS, FOR SETUP AND CALIBRATION ONLY, TO FIT 0805 FOOTPRINT
	476	parts

			Digikey	Newark
		Web ID:	34245213
		Access ID:	97372
		Sales order number:	28664775
		Date:	26/11/10	26/11/10

## Shimmer Rev;A1
Status	Qty	Value	Device	MFG	PN	Parts
n/a	11	???	CAP-H-0805			C31 102 103 104 105 106 107 108 109 110 111
Digikey	11	27pF	CAP-H-0805	Panasonic	ECJ-2VC1H270J	C28 36 44 51 58 65 72 79 86 93 100
Digikey	24	100pF	CAP-V-0805	Panasonic	ECJ-2VC2A101J	C2 10 26-27 34-35 41 43 48 50 55 57 62 64 69 71 76 78 83 85 90 92 97 99
Digikey	14	1nF	CAP-V-0805	Panasonic	ECJ-2VC1H102J	C1 7 11 24 32 45 52 59 66 73 80 87 94 101
Digikey	11	10nF	CAP-H-0805	Panasonic	ECJ-2YB2D103K	C29 37 40 47 54 61 68 75 82 89 96
Digikey	33	0.1uF	CAP-H-0805	Panasonic	ECJ-2FB1H104K	C4-5 8-9 12 14 16-19 23 25 30 33 38-39 42 46 49 53 56 60 63 67 70 74 77 81 84 88 91 95 98
Stock	1	3.3uF	CAP-V-0805	Yageo	CC0805ZKY5V6BB335	C13
Digikey	6	39uF	CAP-POL--NIPPONCHEM_E61	Nippon Chemi	APXE160ARA390ME61G	C3 6 15 20 21 22
Digikey	34	BAS21	DIODE,GENERIC-SOT23	Fairchild	BAS21	D1 7-39
Stock	2	???	FUSE-5X20-4	Littlefuse	100056	F1
Digikey	1	AD8638ARJZ	OPAMP-SOT23-5	Analog Devices	AD8638ARJZ	IC1
Digikey	11	AD823AN	OPAMP:AD8___(DUAL)-DIP8	Analog Devices	AD823AN	IC10 14 18 22 26 30 34 38 42 46 50
Digikey	11		DIP8 SOCKET for dumb reasons	Mill-Max Mfg	110-13-308-41-001000	IC10 14 18 22 26 30 34 38 42 46 50
Digikey	23	HCNR201#500	OPTO:LINEAR-AVAGO#300	Avago	HCNR201-500E	IC2 8-9 12-13 15 17 19 21 23 25 27 29 31 33 35 37 39 41 43 45 47 49
Digikey	12	AD823AR	OPAMP:AD8___(DUAL)-SOIC-8	Analog Devices	AD823AR	IC3 6 11 16 20 24 28 32 36 40 44 48
Digikey	1	CD4538BCMX	MC74HC4538A-SOIC16	Fairchild	CD4538BCMX	IC4
Digikey	1	6N136S	OPTO:6N136-S	Fairchild	6N136S	IC7
Digikey	26	5227222-6	CONN-BNC-TYPE1VERT	Tyco	5227222-6	J1-2 5-8 10-11 13-14 16-17 19-20 22-23 25-26 28-29 31-32 34-35 37-38
Digikey	26		BNC-WASHER	Tyco	1-329632-2	J1-2 5-8 10-11 13-14 16-17 19-20 22-23 25-26 28-29 31-32 34-35 37-38
Digikey	26		BNC-NUT	Tyco	1-329631-2	J1-2 5-8 10-11 13-14 16-17 19-20 22-23 25-26 28-29 31-32 34-35 37-38
Stock	1		JUMPER-1X2			J3
Digikey	1	5747871-4	CONN-DB9-TYPE2-AMP_5747XXX	Tyco	5747871-4	J4
Digikey	11	5747150-8	CONN-DB9-TYPE2-AMP_5747XXX	Tyco	5747150-8	J9 12 15 18 21 24 27 30 33 36 39
n/a	12		CABLE,DB9-DB9,1M	Assman	AK131-2-R
Digikey	1	CC1R5-1212SF-E	DC-DC:CCP-__-E-CC1R5-R-E	TDK		PWR1
Digikey	1	CC10-1212DR-E	DC-DC:CCP-__-E-CC10-R-E	TDK		PWR2
n/a	11	???	R-H-0805			R43 59 200 201 202 203 204 205 206 207 208
Digikey	11	100	R-H-0805		RC0805FR-07100RL	R46 61 64 79 94 109 124 139 154 169 184
Digikey	13	200	R-H-0805		RC0805FR-07200RL	R4 31 47 62 75 90 105 120 135 150 165 180 195
Digikey	15	100K	R-H-0805		ESR10EZPF1003	R3 11-13 35 52 70 85 100 115 130 145 160 175 190
Digikey	43	10K	R-H-0805		RC0805FR-0710KL	R1-2 8-9 15 17-18 21 23 32 34 39 42 49 51 58 65 68-69 80 83-84 95 98-99 110 113-114 125 128-129 140 143-144 155 158-159 170 173-174 185 188-189
Digikey	40	1K	R-V-0805		RC0805FR-071KL	R7 10 16 24-25 28 30 33 36 38 50 53 55 71 74 78 86 89 93 101 104 108 116 119 123 131 134 138 146 149 153 161 164 168 176 179 183 191 194 198
Stock	2	1M	R-V-0805		RC0805FR-071ML	R19 20
Digikey	20	200K	R-V-0805		CRCW0805200KFKEA	R37 54 66 73 81 88 96 103 111 118 126 133 141 148 156 163 171 178 186 193
Digikey	11	3.3M	R-H-0805		RC0805FR-073M3L	R40 56 67 82 97 112 127 142 157 172 187
Stock	12	4.99K	R-V-0805			R27 48 63 76 91 106 121 136 151 166 181 196
Stock	1	499K	R-V-0805		RC0805FR-07499KL	R26
Digikey	24	80.6K	R-V-0805		RC0805FR-0780K6L	R14 29 41 44 57 60 72 77 87 92 102 107 117 122 132 137 147 152 162 167 177 182 192 197
Digikey	2	90.9K	R-H-0805		RC0805FR-0790K9L	R5 22
Digikey	2	500K	POT-BOURNS_3361P	Bourns	3361P-1-504GLF	R45 199
Stock	1	10K	POT-BOURNS_3361P	Bourns	3361P-1-103GLF	R6
Digikey	1	IRFM120A	MOSFET-N-SOT223(C)	IRF	IRFM120A	Q5
Digikey	1	LT3080EST	REGULATOR:LT3080-SOT223	Linear Tech	LT3080EST	IC5
Digikey	5	MMBT5551	BJT-NPN-SOT23	Fairchild	MMBT5551	Q1-4 6
Digikey	5	MMBZ5237BW-7-F	ZENER-SOT23	On Semi	MMBZ5237BW-7-F	D2-6
Digikey	1	MSR320R	AUDIO_DEVICE1-MALLORY_MSR	Mallory	MSR320R	AUD1
Digikey	1	MSR516W	AUDIO_DEVICE1-MALLORY_MSR	Mallory	MSR516W	AUD2
Digikey	11	SML-LXL1209UPGC	LED-1209		PLP2-500	D40-50
Digikey	1	V23026D1022B201	RELAY:SPDT-TYCO_V23026	Tyco	V23026D1022B201	RLY1
n/a			CURRENT SENSOR, 200A	LEM	HAS-200-S
n/a			CURRENT SENSOR, 100A	LEM	HAS-100-S
Digikey	11	22-01-1044	SENSOR CONNECTOR	Molex	22011044
Digikey	44	SPOX 5103	SENSOR CONNECTOR PINS	Molex	08-70-0057
Digikey	11		THERMISTER, 10K @ 25 NTC	Epcos	B57703M0103G040
Digikey	1		WALL WART, 12V 2.5A	SL Power	PW173KB1203B01
n/a	1		PCB	Alberta Printed Circuits
n/a	1		COOLING PLATE	Machine Shop
n/a		APTM50UM09FAG	FETS, HONKING BIG		APTM50UM09FAG	Already ordered from Digikey
n/a		APT10M07JVFR	FETS, BIG
n/a			WIRE
n/a			CONNECTORS, RING, 1/4” 6AWG	Molex	19221-0227
n/a			CONNECTORS, RING, #8, 6AWG	Molex	52042-2
n/a			3U Rack panel	Hammond	PBPA19005CG2
n/a			TEMPERATURE INDICATOR	Thermax
	546

		Digikey Order
		Web ID	31404718
		Access ID	18967
		Salesorder Number	26662742
		1 April 2010

## Horizontal Rev;A1
Status	Qty	Value	Device	MFG	PN	Parts
	11	???	CAP-H-0805			C31 102 103 104 105 106 107 108 109 110 111
Digikey	11	27pF	CAP-H-0805	Panasonic	ECJ-2VC1H270J	C28 36 44 51 58 65 72 79 86 93 100
Digikey	24	100pF	CAP-V-0805	Panasonic	ECJ-2VC2A101J	C2 10 26-27 34-35 41 43 48 50 55 57 62 64 69 71 76 78 83 85 90 92 97 99
Digikey	14	1nF	CAP-V-0805	Panasonic	ECJ-2VC1H102J	C1 7 11 24 32 45 52 59 66 73 80 87 94 101
Digikey	11	10nF	CAP-H-0805	Panasonic	ECJ-2YB2D103K	C29 37 40 47 54 61 68 75 82 89 96
Digikey	33	0.1uF	CAP-H-0805	Panasonic	ECJ-2FB1H104K	C4-5 8-9 12 14 16-19 23 25 30 33 38-39 42 46 49 53 56 60 63 67 70 74 77 81 84 88 91 95 98
Stock	1	3.3uF	CAP-V-0805	Yageo	CC0805ZKY5V6BB335	C13
Digikey	6	39uF	CAP-POL--NIPPONCHEM_E61	Nippon Chemi	APXE160ARA390ME61G	C3 6 15 20 21 22
Digikey	34	BAS21	DIODE,GENERIC-SOT23	Fairchild	BAS21	D1 7-39
Stock	2	???	FUSE-5X20-4	Littlefuse	100056	F1
Digikey	1	AD8638ARJZ	OPAMP-SOT23-5	Analog Devices	AD8638ARJZ	IC1
Digikey	11	AD823AN	OPAMP:AD8___(DUAL)-DIP8	Analog Devices	AD823AN	IC10 14 18 22 26 30 34 38 42 46 50
Digikey	11		DIP8 SOCKET for dumb reasons	Mill-Max Mfg	110-13-308-41-001000	IC10 14 18 22 26 30 34 38 42 46 50
Digikey	23	HCNR201#500	OPTO:LINEAR-AVAGO#300	Avago	HCNR201-500E	IC2 8-9 12-13 15 17 19 21 23 25 27 29 31 33 35 37 39 41 43 45 47 49
Digikey	12	AD823AR	OPAMP:AD8___(DUAL)-SOIC-8	Analog Devices	AD823AR	IC3 6 11 16 20 24 28 32 36 40 44 48
Digikey	1	CD4538BCMX	MC74HC4538A-SOIC16	Fairchild	CD4538BCMX	IC4
Digikey	1	6N136S	OPTO:6N136-S	Fairchild	6N136S	IC7
Digikey	26	5227222-6	CONN-BNC-TYPE1VERT	Tyco	5227222-6	J1-2 5-8 10-11 13-14 16-17 19-20 22-23 25-26 28-29 31-32 34-35 37-38
Digikey	26		BNC-WASHER	Tyco	1-329632-2	J1-2 5-8 10-11 13-14 16-17 19-20 22-23 25-26 28-29 31-32 34-35 37-38
Digikey	26		BNC-NUT	Tyco	1-329631-2	J1-2 5-8 10-11 13-14 16-17 19-20 22-23 25-26 28-29 31-32 34-35 37-38
Stock	1		JUMPER-1X2			J3
Digikey	1	5747871-4	CONN-DB9-TYPE2-AMP_5747XXX	Tyco	5747871-4	J4
Digikey	11	5747150-8	CONN-DB9-TYPE2-AMP_5747XXX	Tyco	5747150-8	J9 12 15 18 21 24 27 30 33 36 39
Digikey	12		CABLE,DB9-DB9,1M	Assman	AK131-2-R
Digikey	1	CC1R5-1212SF-E	DC-DC:CCP-__-E-CC1R5-R-E	TDK		PWR1
Digikey	1	CC10-1212DR-E	DC-DC:CCP-__-E-CC10-R-E	TDK		PWR2
	11	???	R-H-0805			R43 59 200 201 202 203 204 205 206 207 208
Digikey	11	100	R-H-0805		RC0805FR-07100RL	R46 61 64 79 94 109 124 139 154 169 184
Stock	13	200	R-H-0805			R4 31 47 62 75 90 105 120 135 150 165 180 195
Digikey	15	100K	R-H-0805		ESR10EZPF1003	R3 11-13 35 52 70 85 100 115 130 145 160 175 190
Digikey	43	10K	R-H-0805			R1-2 8-9 15 17-18 21 23 32 34 39 42 49 51 58 65 68-69 80 83-84 95 98-99 110 113-114 125 128-129 140 143-144 155 158-159 170 173-174 185 188-189
Digikey	40	1K	R-V-0805			R7 10 16 24-25 28 30 33 36 38 50 53 55 71 74 78 86 89 93 101 104 108 116 119 123 131 134 138 146 149 153 161 164 168 176 179 183 191 194 198
Stock	2	1M	R-V-0805		RC0805FR-071ML	R19 20
Digikey	20	200K	R-V-0805		RC0805FR-07200KL	R37 54 66 73 81 88 96 103 111 118 126 133 141 148 156 163 171 178 186 193
Digikey	11	3.3M	R-H-0805		RC0805FR-073M3L	R40 56 67 82 97 112 127 142 157 172 187
Stock	12	4.99K	R-V-0805			R27 48 63 76 91 106 121 136 151 166 181 196
Digikey	1	499K	R-V-0805		RC0805FR-07499KL	R26
Digikey	24	80.6K	R-V-0805		RC0805FR-0780K6L	R14 29 41 44 57 60 72 77 87 92 102 107 117 122 132 137 147 152 162 167 177 182 192 197
Digikey	2	90.9K	R-H-0805		RC0805FR-0790K9L	R5 22
Digikey	2	500K	POT-BOURNS_3361P	Bourns	3361P-1-504GLF	R45 199
Digikey	1	10K	POT-BOURNS_3361P	Bourns	3361P-1-103GLF	R6
Digikey	1	IRFM120A	MOSFET-N-SOT223(C)	IRF	IRFM120A	Q5
Digikey	1	LT3080EST	REGULATOR:LT3080-SOT223	Linear Tech	LT3080EST	IC5
Digikey	5	MMBT5551	BJT-NPN-SOT23	Fairchild	MMBT5551	Q1-4 6
Digikey	5	MMBZ5237BW-7-F	ZENER-SOT23	On Semi	MMBZ5237BW-7-F	D2-6
Digikey	1	MSR320R	AUDIO_DEVICE1-MALLORY_MSR	Mallory	MSR320R	AUD1
Digikey	1	MSR516W	AUDIO_DEVICE1-MALLORY_MSR	Mallory	MSR516W	AUD2
Digikey	11	SML-LXL1209UPGC	LED-1209		PLP2-500	D40-50
Digikey	1	V23026D1022B201	RELAY:SPDT-TYCO_V23026	Tyco	V23026D1022B201	RLY1
Digikey	1		CURRENT SENSOR, 200A	LEM	HAS-200-S
Digikey	9		CURRENT SENSOR, 100A	LEM	HAS-100-S
Digikey	11	22-01-1044	SENSOR CONNECTOR	Molex	22011044
Digikey	44	SPOX 5103	SENSOR CONNECTOR PINS	Molex	08-70-0057
Digikey	11		THERMISTER, 10K @ 25 NTC	Epcos	B57703M0103G040
Digikey	1		WALL WART, 12V 2.5A	SL Power	PW173KB1203B01
	1		PCB	Alberta Printed Circuits
Done	1		COOLING PLATE	Machine Shop
Done	3	APTM50UM09FAG	FETS, HONKING BIG		APTM50UM09FAG	Already ordered from Digikey
Done		APT10M07JVFR	FETS, BIG
			WIRE
Digikey	6		CONNECTORS, RING, 1/4” 6AWG	Molex	19221-0227
Digikey	16		CONNECTORS, RING, #8, 6AWG	Molex	52042-2
			TEMPERATURE INDICATOR	Thermax
	546

		Digikey Order
		Web ID	29983431
		Access ID	38106
		Salesorder Number	25658565
		20 Nov 2009