University of Toronto

ADVANCED PHYSICS LABORATORY

RES

Electrical Resistivity of Metals

Revisions:

2018 October (Minor Modifications):
David Bailey <dbailey@physics.utoronto.ca >

2005 July: 	Jason Harlow

Original: 	John Pitre

Please send any corrections, comments, or suggestions to the professor currently supervising this experiment, the author of the most recent revision above, or the Advanced Physics Lab Coordinator.

Copyright © 2018 University of Toronto
This work is licensed under the Creative Commons
Attribution-NonCommercial-ShareAlike 4.0 International
(http://creativecommons.org/licenses/by-nc-sa/4.0/)

Theory

One of the prominent characteristics of metals compared with other solids such as insulators or semiconductors, (see Experiment 20), is their high electrical conductivity, .  This results from the large number, n, of electrons per unit volume, typically n  51022 cm−3, corresponding to about 1 electron per atom which is free to carry electric current.

For an applied electric field, E, the current density, J, is determined by n, the electric charge, e, and the mass, m.  We also need another quantity, the average time between collisions of the electron, with thermally vibrating atoms or with impurities, which restore the electron to its average velocity corresponding to zero applied field.  We denote this time by Δt = 2, and call  the relaxation time.  Thus the average drift velocity of the electrons in the field E is given by:

where the magnitude of a is given by Newton’s 2nd Law:

so that

(1)

and the magnitude of the current density is

(2)

which, when compared with Ohm’s Law, J = E, gives

(3)

If we substitute the known values of n, e and m for a typical metal like copper, for which  = 0.6  106 Ω−1 cm−1 at room temperature, we obtain   2  10−14 s.

The relaxation time,, depends upon the amplitude of the thermal vibrations of the atoms, which decreases with decreasing temperature, and also upon the concentration and nature of the impurities.  The probability of scattering per unit time, which is inversely proportional to the relaxation time,, is the sum of probabilities of scattering by thermal vibrations and by impurities, so we can write

(4)

Since, from equation (3), the resistivity  = 1/  1/, we have

= ideal + impurities = i + o					(5)

where their ideal resistivity, ρi, is that of a perfect single crystal sample with no impurities while o is the resistivity contribution due to impurities.

One finds experimentally that ρi and o can be separated by measuring the temperature dependence of the resistivity.  As shown schematically in Figure 1, o is independent of temperature, whereas ρi varies with temperature.  D is the Debye temperature, the characteristic temperature of the thermal vibrations of the crystal lattice.  The value of D for several metals is given in Table 1.  For temperatures much lower than D, the ideal resistivity should vary as i(T)  T 5, where T is measured in Kelvin. For temperatures much higher than D, i(T)  T.

Figure 1.  Resistivity versus Temperature for a Normal Metal.

|  | Debye Temperature D (K) | Superconducting Transition temperature TC (K) |
| --- | --- | --- |
| Al | 229 | 1.2 |
| Cu | 344 | (does not superconduct) |
| In | 109 | 3.4 |
| Na | 160 | (does not superconduct) |
| Nb | 252 | 9.2 |
| Pb | 96 | 7.2 |
| Sn | 195 | 3.7 |
| W | 270 | 0.01 |

Table 1.  Debye temperatures and superconducting transition temperatures for some elements.

The normal boiling point of liquid helium, T = 4.2 K, is so far below D in most metals that, unless the sample is extremely pure, the ideal resistivity is much less than the impurity resistivity.  Conversely, unless the sample is very impure, the ideal resistivity at room temperature is usually much greater than the impurity resistivity.  For this reason, the ratio of the resistivity at room temperature to its value at 4.2 K, usually called the Residual Resistivity Ratio (R.R.R.) is often used as a measure of the purity of the metal sample.

(6)

The resistivity is related to the measured resistance by

(7)

where l is the distance between potential leads and A is the cross sectional area.  The temperature relation between resistance and resistivity may be complicated if A and l vary appreciably as the temperature changes.  However, at low temperatures, thermal coefficients of expansion are low, so that the change in dimensions from 4 K to 300 K is much less than the change in dimensions from 304 K to 600 K, for example.  Also, for impurity estimation using R.R.R. measurements, one is only interested in the order of magnitude of the R.R.R. value so that from equation (7) one can write

(8)

Many metals become superconducting at low temperatures, with the resistivity falling abruptly to zero at the superconducting temperature TC as is shown in Figure 2.  Values for TC for several metals are given in Table 1.  Lead (Pb) has one of the highest values of TC for a metallic element, several degrees above the normal boiling point of helium, so that its superconductivity can be readily demonstrated.  For a short explanation of the phenomenon of superconductivity, refer to Kittel's “Introduction to Solid State Physics”, Chapter 12, or Chapter 34 of “Solid State Physics” by Ashcroft and Mermin.

Figure 2.  Resistivity versus Temperature for a Superconductor.

There are other metals which display a resistance minimum at low temperatures as is shown in Figure 3.  Instead of flattening out or dropping to zero, the resistance increases strongly for temperatures less than about 20 K (see Ashcroft and Mermin, p 688).

Figure 3.  Resistivity versus Temperature for alloys with a resistance minimum.

#### Safety Reminders

- This experiment uses liquid nitrogen and helium, so all laboratory rules and precautions about handling these cryogenic liquids must be observed.

- Eye protection, gloves, and proper footwear, e.g. no sandals, must be worn when working with cryogenic liquids or dewars.

- When pouring liquid nitrogen (LiN) into a small dewar, it is best to place the small dewar on the floor so that any spills or splatters will be far away from your eyes and from clothes that might absorb and hold spilled LiN against your skin causing more severe burns.

- Sealed cryogenic containers build up pressure from the evaporating gas, so eye protection must always be worn when opening the valves on the liquid helium dewar.  You must ask for instruction from the supervising professor, the Demo, or the Lab Technologist, when first using a liquid helium dewar.  Never leave the dewar with all valves closed for long periods; the safety valve should prevent an explosion, but such a blow-out is not desirable.

- Filling the large cryostat with liquid nitrogen and helium must be done under the supervision of the Lab Technologist.

NOTE: This is not a complete list of every hazard you may encounter.  We cannot warn against all possible creative stupidities, e.g. juggling cryostats.  Experimenters must use common sense to assess and avoid risks, e.g. never open plugged-in electrical equipment, watch for sharp edges, don’t lift too-heavy objects, ….   If you are unsure whether something is safe, ask the supervising professor, the lab technologist, or the lab coordinator. When in doubt, ask! If an accident or incident happens, you must let us know.  More safety information is available at http://www.ehs.utoronto.ca/resources.htm.

Experiment

The resistivities of three metal samples are to be measured from about 4.2 K to about 300 K.  There is a separate probe for each wire sample with the same pattern of connections in each case.  The wire samples are quite long, and are therefore wound into coils in order to make them more compact.  The different metal sample wires vary in length and wire thickness, so a comparison of their different resistances does not necessarily reflect differences in resistivities.

The samples of pure Pb, pure Cu, and Au + 0.07% Fe are arranged with current and potential leads as four terminal resistors for which the terminal connections are given in Figure 4.  It is the circular plug on the probe which carries the current and potential leads for the experimental sample.

Figure 4. Connections on the probe viewed facing the circular plug.

An alternating current is sent through the wire sample via the red and black connections.  The amplitude of this current can be made as constant as possible by connecting a large resistance in series with the wire sample.  You may use a decadal resistor and an ammeter to monitor the amplitude of the current through the wire sample.  By adjusting the value of the resistance across the decadal resistor during the experiment, the amplitude of the current can be kept constant as the temperature changes.  The voltage drop across the wire sample is monitored via the green and white connections, and this can be used to determine resistance of the wire sample.  The voltage drop may be quite small, so a Lock-in amplifier is used to measure the voltage between the green and white wires.  The voltage may be read directly off the dial on the Lock-in amplifier, or monitored with the computer by connecting the output of the Lock-in amplifier to the computer. A possible suggested circuit is shown in Figure 5.

Figure 5. Suggested circuit diagram for the resistance measurements.

Temperature measurements are made using a silicon diode as a sensing element.  Some technical information on silicon diodes as cryogenic sensors is given in Appendix I.  The temperature is obtained by measuring the voltage developed across the diode for a given current supplied by the constant current source.  There are red and white leads coming from the square Jones plug which are connected as voltage leads across the temperature sensing diode.  Measuring the voltage across these leads and using the calibration tables provided in Appendix II will give the temperature of the wire sample.  For each probe the resistance of the sample coil and the connections to the thermometer should be checked at room temperature at the start of the experiment.  The output of the thermometer may be monitored directly by a computer.  A suggested circuit diagram is shown in Figure 6.

Figure 6. Suggested circuit diagram for temperature measurement.

The probe must be pre-cooled in a liquid nitrogen bath until all major bubbling has ceased before it is lowered into the liquid helium dewar.  As a check, a measurement at 77 K should be made.  When making this measurement, one should be careful not to use liquid nitrogen that has been sitting in a wide neck dewar exposed to the atmosphere for a long time.  Liquid nitrogen can become contaminated with oxygen from the atmosphere and will not be at the boiling point of pure nitrogen but a little nearer to the eutectic for liquid air which is a few degrees higher than 77 K.  Practically, one should expect a deviation from 77 K of no more than a fraction of a degree.

The lowest temperature is obtained by lowering the probe into the dewar containing liquid helium at its normal boiling point of 4.2 K.  This operation should be done with the help of a laboratory supervisor or technician.

After making a measurement at 4.2 K, measurements may be made at higher temperatures by raising the bottom of the probe out of the liquid helium and having it cooled just in the helium gas.  Greater height above the liquid will correspond to higher temperature.  In a similar manner to that for helium, you may use the gas over liquid nitrogen to obtain temperatures above 77 K.  Measurements up to room temperature may be made if the temperature can be raised slowly enough so that the coil and diode may be assumed to be at the same temperature.

Analysis

You will obtain three R versus T curves which will look, more or less, like Figures 1, 2 and 3.

For Cu it would be desirable to take the sample in the probe above room temperature to obtain resistivities for T ranging through the D value and also the coefficient of the linear temperature above room temperature.  However, heating up the probe can cause damage to the probes so we ask you to “make do” with a room temperature value for the Cu resistivity.  You should be able to confirm the T 5 dependence at low temperatures.  For a discussion of the linear and T 5 dependencies of the resistivity see Ashcroft and Mermin p. 525 and Dekker p. 292.

Determine the residual resistance ratio for two of the wire samples and estimate it for Pb.  The values you obtain should show the effect of the iron impurity in the gold and other unspecified impurities in the lead.

It is possible, (see Dekker p. 294, and, in greater detail, Chapter 4 of Meaden which is given in Appendix III), to obtain a value of the Debye temperature, D from electrical resistance measurements made in the low and high temperature regions.  Calculate a value for D for the copper sample and compare it with the value D = 344 K from specific heat measurements.

For the Au + 0.07% Fe sample you should obtain a clear indication of the resistance minimum and you could try to obtain confirmation of the ln(T) dependence of the Kondo contribution to the resistivity.  For some explanation of the Kondo effect in increasing order of complexity read the following:

- Kittel, pp. 598-600

- Ashcroft and Mermin, pp. 687-9

- Hurd, pp. 181-191 (includes a simple analysis based on Feynman diagrams).

A discussion of the effect that magnetic exchange interaction has on the specific heat of dilute magnetic alloys is given in Appendix IV.  This should provide some feeling for how the dilute magnetic impurity produces relatively large effects.  In Appendix V is a reprint of a paper by Daybell and Steyert which gives an experimental review of how the Kondo effect appears in measurements of the magnetic susceptibility, resistivity, specific heat and thermoelectric power.

REFERENCES

- N.W. Ashcroft and N.D. Mermin, Solid State Physics, 1976.  (QC 176 A83)

- A.J. Dekker, Solid State Physics, 1957.  (QD 931 D43)

- C.M. Hurd, Electrons in Metals, 1975.  (QC 176.8 E4H87)

- C. Kittel, Introduction to Solid State Physics, 8th edition, 2004 (John Wiley and Sons).  (QC 171 K5)

- G.T. Meaden, Electrical Resistivity of Metals, 1965.  (QC 611 M5)

- H.J. Zeiger and G.W. Pratt, Magnetic Interactions in Solids, 1973.  (QC 176.8 M3Z44)